Wellston Public Water System

Consumer Confidence Report

City of Wellston Water Works

203 E. Broadway St.

Wellston, OH 45692

Plant Phone: 740-384-6274

PWS: OH4001912

Updated March 2022

Wellston North and South Water Works

Drinking Water Consumer Confidence Report

For 2021

Introduction

The City of Wellston Water Works has prepared the following report to provide information to you, the consumer, on the quality of our drinking water.  Included within this report is general health information, water quality test results, how to participate in decisions concerning your drinking water and water system contacts. The City of Wellston Strives to produce quality drinking water, in pursuit of our goal we are seeking grant funding to build a new plant and improve the distribution system. The possibility of a new water treatment plant is exciting news! We are hopeful that we succeed in this endeavor to continue to improve the quality of the drinking water we provide to you, our consumers.

Source Water Information

The City of Wellston Water Works receives its drinking water from Little Raccoon Creek and an abandoned mine as a ground water source.

Ohio EPA performed an assessment of our source water in 2003. It was determined that all surface waters are considered to be susceptible to contamination. No evidence to suggest that the City of Wellston’s surface waters or ground water/surface water (abandoned mines) has been impacted by any significant levels of chemical contaminants from human activities, and the presence of potential contaminant sources in the protection area. More detailed information is provided in the City of Wellston’s Drinking Water Source Assessment report, which can be obtained by contacting Adam Peters at 740-384-6274.

What are sources of contamination to drinking water?

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:  (A) Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife; (B) Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming; (C) Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses; (D) Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems; (E) Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, USEPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems.  FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Federal Environmental Protection Agency’s Safe Drinking Water Hotline (1-800-426-4791).

Who needs to take special precautions?

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons, such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infection.  These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

About your drinking water.

The EPA requires regular sampling to ensure drinking water safety.  The City of Wellston Water Works conducted sampling for bacteria, inorganic, radiological and volatile organic contaminants during 2021.  Samples were collected for a total of 45 different contaminants most of which were not detected in the Wellston Water Works’ water supply.  The Ohio EPA requires us to monitor for some contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of our data, though accurate, are more than one year old.

Table of Detected Contaminants

Listed below is information on those contaminants that were found in the City of Wellston Water Works drinking water.

TABLE OF DETECTED CONTAMINANTS

| Distribution System |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminants (units) | MCLG | MCL | Level Found | Range of Detections | Violation | Year Sampled | Typical Source of Contaminants |
| Residual Disinfectants |  |  |  |  |  |  |  |
| Total Chlorine (ppm) | MRDLG=4 | 4 | 1.79 | 1.21 - 1.89 | No | 2021 | Water additive used to control microbes. |
| Disinfection By-Products |  |  |  |  |  |  |  |
| Haloacetic Acid HAA5 (ppb) | N/A | 60 | 44.3 | 19 - 52 | No | 2021 | By-product of drinking water chlorination |
| Trihalomethane TTHMS (ppb) | N/A | 80 | 59.3 | 23.8 - 81.1 | No | 2021 | By-product of drinking water chlorination |
| Lead and Copper |  |  |  |  |  |  |  |
| Contaminants (units) | Action Level | MCLG | Individual Results over the AL | 90% of test levels were less than | Violation | Year Sampled | Typical Source of Contaminants |
| Lead (PPB) | 15 | 0 | N/A | <2.0 | No | 2020 | Corrosion of household plumbing systems; erosion of natural deposits |
| Copper (PPM) | 1.3 | 1.3 | N/A | 0.068 | No | 2020 | Corrosion of household plumbing systems; erosion of natural deposits |

| North Plant |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminants (units) | MCLG | MCL | Level Found | Range of Detections | Violation | Year Sampled | Typical Source of Contaminants |
| Total Organic Carbon (ppm) | N/A | TT | 2.1 | 1.7 - 2.8 | No | 2021 | Naturally present in the environment |
| Turbidity (NTU) | N/A | TT | 0.193 | 0.129 - 0.257 | No | 2021 | Soil Runoff |
| Turbidity (% meeting Standard) | N/A | TT | 100 | N/A | No | 2021 | Turbidity Standard |
| Inorganic |  |  |  |  |  |  |  |
| Barium (ppm) | 2 | 2 | 0.022 | N/A | No | 2021 | Discharge of drilling waste; discharge from metal refineries; erosion of natural deposits |
| Fluoride (ppm) | 4 | 4 | 1.15 | N/A | No | 2021 | Erosion of natural deposits; Water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| Nitrate (ppm) | 10 | 10 | 0.14 | <0.10-0.28 | No | 2021 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |

| South WTP |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminants (units) | MCLG | MCL | Level Found | Range of Detections | Violation | Year Sampled | Typical Source of Contaminants |
| Total Organic Carbon (ppm) | N/A | TT | 0.8 | 0.8 - 1.4 | No | 2021 | Naturally present in the environment |
| Turbidity (NTU) | N/A | TT | 0.159 | 0.072 - 0.159 | No | 2021 | Soil Runoff |
| Turbidity (% meeting Standard) | N/A | TT | 100 | N/A | No | 2021 | Turbidity Standard |
| Inorganic |  |  |  |  |  |  |  |
| Barium (ppm) | 2 | 2 | 0.013 | N/A | No | 2021 | Discharge of drilling waste; discharge from metal refineries; erosion of natural deposits |
| Fluoride (ppm) | 4 | 4 | 0.18 | N/A | No | 2021 | Erosion of natural deposits; Water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |

Total Organic Carbon (TOC) Compliance Calculation

Listed below is information on TOC that was found in the City of Wellston Water Works drinking water.

North Plant

| Contaminant | MCL | Level Found | Range of Monthly Ratios | Violation | Year Sampled | Typical Source of Contaminants |
| --- | --- | --- | --- | --- | --- | --- |
| TOC Compliance | TT | 1.06 | 1.0 - 1.6 | No | 2021 | Naturally present in the environment |

South Plant

| Contaminant | MCL | Level Found | Range of Monthly Ratios | Violation | Year Sampled | Typical Source of Contaminants |
| --- | --- | --- | --- | --- | --- | --- |
| TOC Compliance | TT | 1.0 | 1.0 – 2.2 | No | 2021 | Naturally present in the environment |

The value reported under “Level Found” for Total Organic Carbon (TOC) is the lowest ratio between percent of TOC actually removed to the percentage required to be removed. A value of greater than one (1) indicates that the water system is in compliance with TOC removal requirements. A Value of less than one (1) indicates a violation of the TOC removal requirements.

Turbidity

Turbidity is a measure of the cloudiness of water and is an indication of the effectiveness of our filtration system.  The turbidity limit set by the EPA is 0.3 NTU in 95% of the samples analyzed each month and shall not exceed 1 NTU at any time.  As reported above, the City of Wellston Water Works highest recorded turbidity result for 2021 was 0.257 NTU and lowest monthly percentage of samples meeting the turbidity limits was 100%.

Lead Educational Information

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  The City of Wellston Water Works is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline at 800-426-4791 or at http://www.epa.gov/safewater/lead.

License to Operate (LTO) Status Information

In 2021 The Wellston City PWS had an unconditioned license to operate our water system.

Public Participation and Contact Information

How do I participate in decisions concerning my drinking water?

Public participation and comment are encouraged at regular meetings of The Wellston City Council which meets the First and Third Thursday each month at 7 p.m. For more information on your drinking water contact David Lehew or Adam Peters at 740-384-6274

Definitions of some terms contained within this report.

- Maximum Contaminant Level Goal (MCLG):  The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

- Maximum Contaminant level (MCL):  The highest level of contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

- Maximum Residual Disinfectant Level (MRDL):  The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

- Maximum Residual Disinfectant Level Goal (MRDLG):  The level of drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

- Action Level (AL):  The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

- Treatment Technique (TT):  A required process intended to reduce the level of a contaminant in drinking water.

- Contact Time (CT) means the mathematical product of a “residual disinfectant concentration” (C), which is determined before or at the first customer, and the corresponding “disinfectant contact time” (T).

- Microcystins: Liver toxins produced by a number of cyanobacteria.  Total microcystins are the sum of all the variants/congeners (forms) of the cyanotoxin microcystin.

- Cyanobacteria: Photosynthesizing bacteria, also called blue-green algae, which naturally occur in marine and freshwater ecosystems, and may produce cyanotoxins, which at sufficiently high concentrations can pose a risk to public health.

- Cyanotoxin: Toxin produced by cyanobacteria.  These toxins include liver toxins, nerve toxins, and skin toxins.  Also sometimes referred to as “algal toxin”.

- Level 1 Assessment is a study of the water system to identify the potential problems and determine (if possible) why total coliform bacteria have been found in our water system.

- Level 2 Assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

- PFAS: Per- and polyfluoroalkyl substances (PFAS) are a group of man-made chemicals applied to many industrial, commercial and consumer products to make them waterproof, stain resistant, or nonstick. PFAS are also used in products like cosmetics, fast food packaging, and a type of firefighting foam called aqueous film forming foam (AFFF) which are used mainly on large spills of flammable liquids, such as jet fuel.  PFAS are classified as contaminants of emerging concern, meaning that research into the harm they may cause to human health is still ongoing.

- Parts per Million (ppm) or Milligrams per Liter (mg/L) are units of measure for concentration of a contaminant.  A part per million corresponds to one second in a little over 11.5 days.

- Parts per Billion (ppb) or Micrograms per Liter (μg/L) are units of measure for concentration of a contaminant.  A part per billion corresponds to one second in 31.7 years.

- The “<” symbol: A symbol which means less than.  A result of <5 means that the lowest level that could be detected was 5 and the contaminant in that sample was not detected.

- Picocuries per liter (pCi/L):  A common measure of radioactivity.